[image: image1.wmf] 


REQUIREMENTS FOR MOWING VEGETATIVE GROWTH

A. Maximum height of weeds and dry grass is 2 inches

B. Properties 1 acre or less, must mow the entire parcel.

C. Properties over 1 acre must meet the following requirements:

1. Ignitable vegetation within 100 feet of any building or structure or to the   property line, whichever is nearer, shall be mowed.

2. Ignitable vegetation within 50 feet from the edge of any roadway or property      line shall be mowed.

3. Ignitable vegetation within 10 feet of each side of driveways shall be mowed

4. Properties over 1 acre shall be bisected by 30 foot mowed firebreaks. Firebreaks shall be located so that there is not more than 100 feet of ignitable vegetation between each firebreak in any direction.

D. Mow grass before 10:00 AM to avoid accidental ignition of the vegetation caused by sparks.

ADDITIONAL REQUIREMENTS FOR PROPERTIES IN                                         HIGH FIRE HAZARD AREAS (SEE INSET)



















































































































































































































































































































































The Deadline For Weed Abatement Is June 15, 2020





� EMBED Word.Picture.8  ���





Trim tree branches from ground level to a height of six feet.


For native brush, remove the lower one third of branches.


Cover all exterior building vents with 1/8 inch metal wire screens.


Remove dead trees.


Stack firewood at least 30 feet from any structure.


Remove tree limbs within 10 feet of a chimney, encroaching on power lines, or touching a structure.


Install spark arrester with ½ inch mesh screen on any chimney.


Keep roof and rain gutters clean of all flammable vegetation.





Fire Department Staff are glad to offer assistance and guidelines to make your home a Fire Safe Home.  If you have any questions or for further information please call Fire Marshal, Linda Collister to schedule an appointment at 431-3125 or email her at lcollister@ci.healdsburg.ca.us 








_1238408413.doc
[image: image1.png]29
L YA
= Ve
L K e
01/4@'\@"‘
LA
7% 0'@,\/4»

Q(,\/’ b

High Fire Hazard
Severity Zone

.
i 1 Sphere of Influence
L L.

m High Fire Hazard

HEALDSBURG General Plan Figure 114








